## Slide 1
Xian Ming-Zheng
2021/03/24
Department of earth and space science
Parallel-plate electric field measurement

## Slide 2
测量结果是否正确

## Slide 3
wire resistance ???

## Slide 4
slop

## Slide 7
V-平行板
V-
V-平行板+

## Slide 8
Signal source problem ???
Max output frequency ：250MHz

## Slide 10
Differential coefficient
信号发生器内阻

## Slide 13
Monopole response

## Slide 14
z
z
z

## Slide 16
Square wave response function

## Slide 17
The voltage on the board will be greater than the set voltage
For example, the voltage on the board is 42.36V when it is 10M, but the voltage is set to 20V
The antenna induced potential will be greater than the potential of the two plates
Whether it is necessary to shield external electromagnetic signals
To Increase the area of the plate S
The external 50Hz signal is stronger

## Slide 18
J Zuo, Zheng X . Research on Calibration System of Low Frequency Electric Field Measuring Instrument[J]. 2020.